## Installation Parameters
COMPLETE THIS FORM AND ATTACH TO AMPACITY REQUEST SUBMISSION HERE: Ampacity Calculation
| Parameter | Options | Units | Default | Units
General Information | Nominal system operating voltage | [Enter value] | kV | -- | --
| Number of cables per phase | [Enter value] | cable(s) | 1 | cable
| Required ampacity per cable | [Enter value] | Amps | -- | --
| Maximum operating temperature | 90 105 | °C | 90 | °C
| Load Factor | 75 100 other | % | 100 | %
| Type of installation | direct buried buried ducts duct bank other | -- | -- | --
Cable Design Details | Southwire stock number OR | [Enter value] | -- | -- | --
| Voltage Rating | 600V 1000V 2000V 5000V 15000V 25000V 28000V 35000V 46000V | -- | -- | --
| Conductor material and size | Aluminum Copper | -- | -- | --
| Insulation type and level | 600V XLP 600V EPR MV TRXLPE 100% MV TRXLPE 133% MV EPR 100% MV EPR 133% | -- | -- | --
| Metallic shield type | Concentric Neutral Flat Strap LCT CTS | -- | -- | --
| Jacket | LLDPE XLPE PVC LSZH | -- | -- | --
Direct Burial | Depth of Burial | [Enter value] | ft | 3 | ft
| Soil ambient temperature | [Enter value] | °C | 30 | °C
| Earth rho | [Enter value] | °C∙cm/W | 90 | °C∙cm/W
| Cable Spacing | trefoil flat - touching flat - spaced | -- | -- | --
| Metallic shield bonding | multi-point (shields short circuited) single point (shields open circuited) | -- | -- | --
Buried Ducts | Depth of Burial | [Enter value] | ft | 3 | ft
| Soil ambient temperature | [Enter value] | °C | 30 | °C
| Earth rho | [Enter value] | °C∙cm/W | 90 | °C∙cm/W
| Cables per duct | 1 cable 3 cables other | -- | -- | --
| Duct Size | 1.5 2 3 4 5 6 | in | -- | --
| Duct Material | polyethylene (CIC) PVC | -- | -- | --
| Metallic shield bonding | multi-point (shields short circuited) single point (shields open circuited) | -- | -- | --
Ductbank | Ductbank dimensions | [Enter value] | ft | -- | --
| Number of circuits in ductbank | [Enter value] | -- | -- | --
| Number of rows | [Enter value] | -- | -- | --
| Number of columns | [Enter value] | -- | -- | --
| Number of unused conduits | [Enter value] | -- | -- | --
| Vertical spacing between ducts | [Enter value] | in | -- | --
| Horizontal spacing between ducts | [Enter value] | in | -- | --
| Vertical spacing to edge of ductbank | [Enter value] | in | -- | --
| Horizontal spacing to edge of ductbank | [Enter value] | in | -- | --
| Height to top of ductbank | [Enter value] | ft | 3 | ft
| Soil ambient temperature | [Enter value] | °C | 40 | °C
| Earth rho | [Enter value] | °C∙cm/W | 90 | °C∙cm/W
| Ductbank rho (concrete) | [Enter value] | °C∙cm/W | 55 | °C∙cm/W
| Cables per duct | 1 cable 3 cables other | -- | -- | --
| Duct Size |  | in | -- | --
| Duct Material | polyethylene PVC | -- | -- | --
| Metallic shield bonding | multi-point (shields short circuited) single point (shields open circuited) | -- | -- | --